## Slide 1: Power flow
Y matrix
Read given Data
Apply Power flow equations
Newton-Raphson Method
Choose starting point for angles and voltage (flat start)
Build Jacobian, using partial derivatives of power with respect to V &
Calculate Mismatch
P
Q
Check Convergence if P
Q
, <ε
Inverse Jacobian for the iteration process
Check the ε Mismatch
If Fmax <ε
If Fmax>ε,repeat
Stop the Process